## Sheet1
EXAMPLE ASSET MANAGEMENT PLAN
* costs are purely indicative
| CYCLE | COST per | ANNUAL | 5 | 10 | 15 | 20 | 25 | 30 | other | COST over
|  | CYCLE | COST | [7 empty] | 30 YEARS
ANNUAL CYCLICAL MAINTENANCE
Clean Gutters and Downpies | 3 months | 300 | 1200 | [7 empty] | 36000
Clean Gullies and drains | 3 months | 50 | 200 | [7 empty] | 6000
Boiler Service | annual | 200 | 200 | [7 empty] | 6000
Ventilation Service | annual | 200 | 200 | [7 empty] | 6000
Portable Electric Appliances Test | annual | 125 | 125 | [7 empty] | 6250
Vermin and Rodent Control | 3 months | 70 | 280 | [7 empty] | 8400
Cleaning window glass | annual | 500 | 500 | [7 empty] | 15000
Lightning Conductor Test | annual | 85 | 85 | [7 empty] | 2550
Fire Extinguisher Test/repacement | annual | 150 | 150 | [7 empty] | 4500
ANNUAL CYCLICAL MAINTENANCE COST |  |  | 2940
LONGER TERM CYCLICAL MAINTENANCE
Electrical Installation Test |  | 3000 | 600 | [7 empty] | 18000 | bar: 5 to 30
CAPITAL REPAIRS
Churchyard Paths |  | 5000 | 500 | [7 empty] | 15000 | bar: 5; 15; 25
Churchyard Landscape/Trees |  | 500 | 500 | [7 empty] | 30000 | bar: 5 to 30
Quinquennial Items |  | 10000 | 2000 | [7 empty] | 60000 | bar: 5 to 30
North Aisle Mullions |  | 25000 | 4160 | [7 empty] | 25000 | bar: 15
Painting Exterior metal/wood |  | 5000 | 1000 | [7 empty] | 30000 | bar: 5 to 30
High Level Cleaning |  | 3000 | 300 | [7 empty] | 9000 | bar: 5; 15; 25
Lead Roofs repair |  | 3000 | 300 | [7 empty] | 9000 | bar: 10; 20; 30
IMPROVEMENTS & NEW WORKS
Electric Lighting repair & upgrade |  | 25000 | 833 | [7 empty] | 25000 | bar: 25
Electric Power repair & upgrade |  | 15000 | 500 | [7 empty] | 15000 | bar: 25
Heating & Boiler upgrade |  | 35000 | 1166 | [7 empty] | 35000 | bar: 25
Kitchen & Toilets upgrade |  | 12000 | 1200 | [7 empty] | 36000 | bar: 10; 20; 30
Fire Alarm & Emergency lighting upgrade |  | 8000 | 533 | [7 empty] | 16000 | bar: 15; 30
Ventilation System Replace |  | 2000 | 67 | [7 empty] | 2000 | bar: 20
Lead Roofs Replace |  | 75000 | 1154 | [6 empty] | yr 65 | 34615
Rainwater Goods Replace |  | 12500 | 417 | [7 empty] | 12500 | bar: 20
Building Maintenance Requirement over 30 years | [10 empty] | 462815
Annual Sum to be raised to be spent or saved | [10 empty] | £15,427